## SCS Work
IN_BU_SCS
No. | Item Part Number | Item Description | Qty. | UoM | GPL Unit Cost ( ) | GPL Total Cost ( ) | Discount (%) | Discounted Unit Cost ( ) | Discounted Total Cost ( ) | Frieght & Insurance | Bank Charges | Import Tax | Margin (%) | Unit Price ( USD) | Total Price ( USD)
1 | Rack Mounting
| 6U rack mounting | rack mounting | 20 | pcs | 500 | 10000 | 0% | 500 | 10000 | 0% | 0% | 0% | 100% | 1000 | 20000
2 | Node Installation
| trunking and Labeling of Nodes | Node installation (Trucking and cable installation, Punching. For All Nodes) | 800 | pcs | 500 | 400000 | 0% | 500 | 400000 | 0% | 0% | 0% | 100% | 1000 | 800000
3 | * Fiber
| Fiber | 12 core fiber | 4000 | meter | 400 | 1600000 | 0% | 400 | 1600000 | 0% | 0% | 0% | 50% | 600 | 2400000
4 | * PVC
| 75" PVC Tube | PVC tube for installation on wall | 1000 | meter | 150 | 150000 | 0% | 150 | 150000 | 0% | 0% | 0% | 100% | 300 | 300000
[6 empty] | 2010000 | 0
Note *: * Quantity to be determined as per site survey

## Network and Security
IN_BU_Network and Security
No. | Item Part Number | Item Description | Qty. | UoM | GPL Unit Cost ( ) | GPL Total Cost ( ) | Discount (%) | Discounted Unit Cost ( ) | Discounted Total Cost ( ) | Frieght & Insurance | Bank Charges | Import Tax | Margin (%) | Unit Price ( USD) | Total Price ( USD)
1 | Access Switches
| S5731-S48P4X | Forwarding Performance:125 mpps, Switching Capacity: 176/672 Gbit/s, Fixed Ports: 48 x 10/100/ 1000Base-T Ethernet ports, 4 x 10 GE SFP+,PoE+:Supported, MAC Features:64,000 MAC entries MAC address learning and aging Static, dynamic, and blackhole MAC address entries Packet filtering based on source MAC addresses, VLAN Features: 4094 VLANs Guest VLAN, voice VLAN GVRP MUX VLAN VLAN assignment based on MAC addresses, protocols, IP subnets, policies, and ports 1:1 and N:1 VLAN mapping |  | pcs | 40000 | 0 | 0% | 40000 | 0 | 0% | 0% | 0% | 100% | 80000 | 0
| S5731-S24P4X | Forwarding Performance: 96 mpps, Switching Capacity: 128/672 Gbit/s, Fixed Ports: 24 x 10/100/ 1000Base-T Ethernet ports, 4 x 10 GE SFP+, PoE+: Supported, MAC features: 64,000 MAC entries MAC address learning and aging Static, dynamic, and blackhole MAC address entries Packet filtering based on source MAC addresses, VLAN Features: 4094 VLANs Guest VLAN, voice VLAN GVRP MUX VLAN VLAN assignment based on MAC addresses, protocols, IP subnets, policies, and ports 1:1 and N:1 VLAN mapping |  | pcs
2 | Firewall
| PA-3260 | Firewall throughput (HTTP/appmix): 7/7.8 Gbps, Threat Prevention throughput (HTTP/appmix): 3.5/4.3 Gbps, IPsec VPN throughput: 4.4 Gbps, Max sessions: 2.2M, New sessions per second: 88,000, Virtual systems (base/max): 1/6, Interafce modes: L2, L3, tap, virtual wire (transparent mode, Routing: OSPFv2/v3 with graceful restart, BGP with graceful restart, RIP, static routing Policy-based forwarding Point-to-Point Protocol over Ethernet (PPPoE) Multicast: PIM-SM, PIM-SSM, IGMP v1, v2, and v3, SD-WAN: Path quality measurement (jitter, packet loss, latency) Initial path selection (PBF) Dynamic path change, IPSec VPN: Key exchange: manual key, IKEv1, and IKEv2 (pre-shared key, certificate-based authentication) Encryption: 3DES, AES (128-bit, 192-bit, 256-bit) Authentication: MD5, SHA-1, SHA-256, SHA-384, SHA-512, VLANs: 802.1Q VLAN tags per device/per interface: 4,094/4,094 Aggregate interfaces (802.3ad), LACP, Network Address Translation: NAT modes (IPv4): static IP, dynamic IP, dynamic IP and port (port address translation) NAT64, NPTv6 Additional NAT features: dynamic IP reservation, tunable dynamic IP and port oversubscription, High Availability: Modes: active/active, active/passive, HA clustering Failure detection: path monitoring, interface monitoring | 2 | pcs | 60000 | 120000 | 0% | 60000 | 120000 | 0% | 0% | 0% | 100% | 120000 | 240000
3 | Endpoint Security
| Cortex XDR | Behavioral analytics powered by machine learning, Custom and hundreds of out-of-the-box rules to detect attacker tactics, techniques, and procedure, Global Analytics powered by cross-customer data, Identity Analytics for user behavior analytics (UBA), Full endpoint detection and response (EDR), network detection and response (NDR), and cloud detection and response (CDR) |  | pcs | 50000 | 0 | 0% | 50000 | 0 | 0% | 0% | 0% | 100% | 100000 | 0

## SCR
IN_BU_SCR
No. | Item Part Number | Item Description | Qty. | UoM | GPL Unit Cost ( ) | GPL Total Cost ( ) | Discount (%) | Discounted Unit Cost ( ) | Discounted Total Cost ( ) | Frieght & Insurance | Bank Charges | Import Tax | Margin (%) | Unit Price ( USD) | Total Price ( USD)
1 | Smart Interactive display with OPS module
| DS-D5B86RB/A | Ultra HD display with up to 3840 × 2160 resolution of input signal available, 20px ultra fine writing, and 2 mm diameter recognizable with the precision of 1 mm, Built-in Wi-Fi realizes miracasting without any cable connection, Compatible with OPS/OPS-C devices, realizing smooth switch between built-in systems | 40 | pcs | 500 | 20000 | 0% | 500 | 20000 | 0% | 0% | 0% | 100% | 1000 | 40000
| DS-D5AC9C5-8S2(9400H) | Intel UHD Graphic, support H.265 and 4K resolution, Support M.2 nvme system disk quick start, Support 3 USB 3.0 ports, 3 USB2.0 ports, 1 HDMI port, 1 DP interface，1 Type-C port, Support dual channel memory, Support Wi-Fi IEEE 802.11 a/b/g/n/ac | 40 | pcs
2 | Education sharing system
| DS-8108LHFHI-K2 | Three live view control views are provided: movie mode, picture-in-picture mode, and multi-screen mode, Auto live view control realizes automatic switch of teacher image, student image, and multimedia image, which helps to meet the demand of daily teaching requirement, Real-time encoding for all cameras with up to 1080p resolution | 40 | pcs | 500 | 20000 | 0% | 500 | 20000 | 0% | 0% | 0% | 100% | 1000 | 40000
3 | Camera
| iDS-2CD71C5G0-IZS | High quality imaging with 12 MP resolution, Clear imaging against strong back light due to DWDR technology, Efficient H.265+ compression technology to save bandwidth and storage, Advanced streaming technology that enables smooth live view and data self-correcting in poor network, 5 streams and up to 5 custom streams to meet a wide variety of applications | 48 | pcs | 400 | 19200 | 0% | 400 | 19200 | 0% | 0% | 0% | 50% | 600 | 28800
4 | Software license
| HikCentral-E-Education-SharingModule | HikCentral-E-Education-SharingModule |  | pcs
| HikCentral-E-Education1SharingClassroom | HikCentral-E-Education1SharingClassroom |  | pcs
| HikCentral-E-Education-VSSBase/4ch | HikCentral-E-Education-VSSBase/4ch |  | pcs
| HikCentral-E-Education-VSSBase/1ch | HikCentral-E-Education-VSSBase/1ch |  | pcs
| ESS Audio/Video Session | ESS Audio/Video Session |  | pcs
| HikCentral-E-ClassIn-RemoteShare | HikCentral-E-ClassIn-RemoteShare |  | pcs
5 | Ceiling mount Microphone
| Microphone | ceiling mounted microphone | 40 | pcs | 150 | 6000 | 0% | 150 | 6000 | 0% | 0% | 0% | 100% | 300 | 12000
6 | Speaker
| Speaker | speaker | 40 | pcs | 150
7 | Amplifier
| Amplifier | amplifier | 40 | pcs | 150
8 | Audio Cables
| 3m Audio Cable from Speaker to Amplifier | speaker cable |  | pcs
| 1m Audio Cable from Amplifer to Education sharing module | amplifier cables |  | pcs
9 | HDMI Cables
| C-HM/HM/PICO/GR-10 | Ultra–Slim Flexible High–Speed HDMI Cable with Ethernet Lengths — 1–10ft (0.3–3.0m), Max Resolution — 4K@60Hz (4:4:4) |  | pcs
10 | Switches
| S5735-L24P4X-A1 | S5735-L24P4X-A1 (24*10/100/1000BASE-T ports, 4*10GE SFP+ ports, PoE+, AC power) | 4 | pcs | 150
11 | UPS
| GXT5-20KIRT9UXLE | High output power factor up to 1.0, Full-color graphic LCD with gravity sensing orientation, External battery cabinets with auto-detection, Parallel or redundant operation capability, High eff iciency in online mode, Optimized thermal management and variable speed fan for peak eff iciency and noise reduction | 2 | pcs | 150
12 | Fiber
| Fiber cable splicing | Installation and splicing of fiber cable for class rooms intenet access | 16 | core | 150
13 | Rack mounting
| 6U Rack | rack mounting for active devices installation | 4 | pcs

## IPT
IN_BU_IPT
No. | Item Part Number | Item Description | Qty. | UoM | GPL Unit Cost ( ) | GPL Total Cost ( ) | Discount (%) | Discounted Unit Cost ( ) | Discounted Total Cost ( ) | Frieght & Insurance | Bank Charges | Import Tax | Margin (%) | Unit Price ( USD) | Total Price ( USD)
1 | IP Telephony
| ALCATEL SP2502G | 2.8" TFT Color display for easy access to a variety of business functions through a vivid and intuitive interface, Access to large local and network phonebooks for enhanced contact management, Full duplex handsfree to ease your conference calls, Headset and EHS* support for convenient conversations in office environments, Embedded VPN client for secure remote connections, 2 Gigabit ports |  | pcs | 500 | 0 | 0% | 500 | 0 | 0% | 0% | 0% | 100% | 1000 | 0

## Civil work
IN_BU_Civil works
No. | Item Part Number | Item Description | Qty. | UoM | GPL Unit Cost ( ) | GPL Total Cost ( ) | Discount (%) | Discounted Unit Cost ( ) | Discounted Total Cost ( ) | Frieght & Insurance | Bank Charges | Import Tax | Margin (%) | Unit Price ( USD) | Total Price ( USD)
1 | * Trench excavation
| trench excavation | Digging straight 60cm Depth based on LLD Trench for Fiber , UPVC installation through Trench , properly backfill ,30cm depth from normal land scape laid fiber warning tap, planting grass if it is pass through this object | 1 | meter | 253 | 253 | 0% | 253 | 253 | 0% | 0% | 0% | 50% | 379.5 | 379.5
2 | * Pole footing construction
| Pole footing construction | Concrete footing construction for pole based on LLD, Digging 70cm depth and form work using plywood 30X30X70cm footing pad, J-bolt, plate, 4X8mm 25X25X60cm steel structure , PVC For Cable pass, fill concrete properly Note:-must consider Water Level of palate and mounting Pole | 1 | pcs | 6000 | 6000 | 0% | 6000 | 6000 | 0% | 0% | 0% | 50% | 9000 | 9000
3 | * Chiseling for retaining wall
| chiseling for retaining wall | chiseling for retaining wall and masonry with proper maintainace | 1 | pcs | 690 | 690 | 0% | 690 | 690 | 0% | 0% | 0% | 50% | 1035 | 1035
4 | Fiber Cable Installation outdoor
| Fiber Cable Installation outdoor | Prober Fiber cable installation though installed UPVC based on LLD and make reserve on turning point (at list 3m ) of manhole. | 4000 | meter | 34.5 | 138000 | 0% | 34.5 | 138000 | 0% | 0% | 0% | 50% | 51.75 | 207000
5 | Fiber Cable Installation indoor
| Fiber Cable Installation indoor | Prober Fiber cable installation though installed trunk based on LLD and make reserve on turning point (at list 2m ) of rack | 1000 | meter | 20 | 20000 | 0% | 20 | 20000 | 0% | 0% | 0% | 50% | 30 | 30000
6 | * Manhole and cover production including Placement
| Manhole and cover production including Placement | 60cm Diameter and 100cm Depth concrete pipe Manhole with concrete cover. − This work includes; Form Work Preparation for Manhole Cover with size 60cm diameter Placing Reinforcement according to the standards which have an ''O'' Ring for Opening Purpose and Casting C-25 Concrete. | 1 | pcs | 4500 | 4500 | 0% | 4500 | 4500 | 0% | 0% | 0% | 50% | 6750 | 6750
7 | * Path Indicator Construction and placement (40cm height fiber path indicator with paint and label
| Path Indicator Construction and placement (40cm height fiber path indicator with paint and label | Concrete Path indicator construction ,10X10X40cm Size paint white color 15cm above land scape level with Black color painting, make direction to where the fiber path is going on side of concrete and place all concrete based on LLD and compact it properly Digging manhole placement, lean concrete bottom of manhole before putting and after putting manhole inside, putting 1mX0.6m Concrete manhole from production area based on LLD and cover manhole, including plastering manhole cover with manhole, UPVC Out Hole area to protect water Leak | 1 | pcs | 350 | 350 | 0% | 350 | 350 | 0% | 0% | 0% | 50% | 525 | 525
8 | * Asphalt Crossing
| Asphalt Crossing | Properly digging Road crossing 70cm Depth, ditch boy if any on required area based on LLD and reconstruction by original material /Asphalt maintenance with concrete | 1 | meter | 1000 | 1000 | 0% | 1000 | 1000 | 0% | 0% | 0% | 50% | 1500 | 1500
9 | * Compacted Soil
| Compacted Soil | Properly digging compact soil 60cm depth and back fill with original material like cobblestone, terrazzo | 1 | meter | 402.5 | 402.5 | 0% | 402.5 | 402.5 | 0% | 0% | 0% | 50% | 603.75 | 603.75
10 | * Pavement
| Pavement | Remove any pavement and replace with it self /reconstruction with concert cement | 1 | meter | 1000 | 1000 | 0% | 1000 | 1000 | 0% | 0% | 0% | 50% | 1500 | 1500
[6 empty] | 6943 | 0
Smart Class room
1 | Terazzo Demolishing
| Terazzo | Demolishing of existing terazzo | 2080 | m2 | 1000
2 | Windows Demolising
| Windows | demolish existing back and front side windows | 1 | m2 | 1000
3 | Door Demolishing
| Doors | demolish existing Doors | 40 | pcs | 1000
4 | Chiesling
| Chieseling | Chiesling of indoor and outdoor walls | 1 | m2 | 1000
5 | Gypsum Board
| Gypsum Board | Construction of Gypsum Board | 1 | m2 | 1000
6 | Gypsum Chuck
| Gypsum Chuck | gypsum chuck work indoor and outdoor walls | 1 | m2 | 1000
7 | Ceramic tiles
| ceramic tiles | Construction of ceramic tiles | 1 | m2 | 1000
8 | Paint | paint work for smart class rooms | 1 | m2 | 1000