## Summary-BoQ
DU- ICT Infrastracture Enhancement - Budgetary Estimate Summary
No. | Item Description | Total (ETB)
1 | Network Item | 12628195.632
2 | Wireless Access Point | 28198184
3 | DCF | 5203520
4 | Campus Check point security solution | 13432859.5905
5 | ILMS | 6365893.31
6 | smart class room | 5323991.2848
7 | One Card System | 4626461.385
8 | Time Attendance | 405681.36
9 | CCTV Solution | 14304889.123
10 | SCS | 4700479
11 | Firewall | 2608200
12 | VC | 13780905.6168
13 | Local and international Training and Certefication | 4512527.5
14 | Professional Service | 11597131.6517
| Total | 127688919.4539

## Campus Chech point-BE
DU-University Check point Security management system - BE
No. | Item Part Number | HS Code | Item Description | Qty. | UoM | GPL Unit Cost (USD) | GPL Total Cost (USD) | Discount (%) | Discounted Unit Cost (USD) | Discounted Total Cost (USD) | Frieght & Insurance | Bank Charges | Import Tax | Margin (%) | Unit Price (USD) | Total Price (USD) | Unit Price (ETB) Inclduing VAT | Total Price (ETB)
1 | Access controler Software
| ZKBioSecurity -V4.0 |  | Max Personnel: 5000 Max Department:500 Max Area:500 Supported max doors: 25 | 1 | pcs | 699 | 699 | 0% | 699 | 699 | 0% | 10% | 0% | 40% | 1076.46 | 1076.46 | 55706.805 | 55706.805
2 | Card Issue Device | [15 empty] | 0
| ZK8500R | 84719000 | Material Optical CPU 120MHz DSP Flash 16 KB SoC RTOS Image Quality 0.3 million pixels CMOS Sunlight Operation White filed, General Sunlight | 1 | pcs | 65 | 65 | 0% | 65 | 65 | 10% | 10% | 18% | 40% | 125.58 | 125.58 | 6498.765 | 6498.765
3 | Turnstile
| FBL5022 Pro | 85308000 | Power requirements AC 100 ~ 120V/200 ~ 240V, 50/60Hz Working temperature -28℃ ~ 60℃ Working humidity 5% ~ 80% Working environment Indoor/outdoor (if sheltered) Speed of throughput RFID Maximum 30/ minuteFingerprint Maximum 25/ minute Lane width(mm) 600 Footprint(mm*mm) 1200*1200 Dimensions(mm) L=1200,W=300,H=1010 Dimension with packing(mm) L=1400,W=840,H=1110 | 8 | PCS | 4260 | 34080 | 0% | 4260 | 34080 | 10% | 10% | 63% | 40% | 10914.12 | 87312.96 | 564805.71 | 4518445.68
| FBL5222 Pro | 85308000 | Power requirements AC 100 ~ 120V/200 ~ 240V, 50/60Hz Working temperature -28℃ ~ 60 Working humidity 5% ~ 80% Working environment Indoor/outdoor (if sheltered) Speed of throughput RFID Maximum 30/ minute Fingerprint Maximum 25/ minute Lane width(mm) 600 Footprint(mm*mm) 1200*840 Dimensions(mm) L=1200, W=300, H=1010 Dimension with packing(mm) L=1400, W=400, H=1100 | 11 | PCS | 3400 | 37400 | 0% | 3400 | 37400 | 10% | 10% | 63% | 40% | 8710.8 | 95818.8 | 450783.9 | 4958622.9
1 | Handheld Metal Detector
| ZK-D180 | 85437000 | Visualize metal detection indicator Device Dimension: 345(L)×69(W)×25(H)mm Power:Rechargeable 9V Ni-MH Battery, DC charger | 3 | pcs | 42 | 126 | 0% | 42 | 126 | 10% | 10% | 58% | 40% | 104.664 | 313.992 | 5416.362 | 16249.086
2 | Walk Through Metal Detector
| ZK-D4330 | 85437000 | 7 inch LCD display Detecting Zones: 33 zones LED indicators: four LED light bars Sensitivity Level: 300 Frequency Channel: 100 Supprot sensitivity quick settings 20 Levels volume, 16 tones setting Turnstile & barrier linkage : standard IR Remote Control: standard Wooden frame packing: standard | 2 | pcs | 1756 | 3512 | 0% | 1756 | 3512 | 10% | 10% | 58% | 40% | 4375.952 | 8751.904 | 226455.516 | 452911.032
3 | Vehicle Inspection Mirror
| ZK-M3 | 85439000 | Mirror diameter: 300mm Rod length: 1200-1400mm Light source: LED Device weight: 1.6kg Package weight: 2.42kg Package size: 860mm*290mm*330mm include: Rod * 4 LED flashlight*1 Mirror*1 Spanner*1 | 2 | PCS | 50 | 100 | 0% | 50 | 100 | 10% | 10% | 63% | 40% | 128.1 | 256.2 | 6629.175 | 13258.35
4 | x-ray object Inspection Systems
| BLADE6040 | 90222900 | Tunnel Dimensions(WxH)：610 × 420 mm Conveyor Speed：0.20 m/sec. ~0.40m/sec Load on Conveyer: Max 200 kg. (Evenly Distributed) Space Defintion：HorizontalΦ1.0mm,VerticalΦ2.0mm Steel Penetration: 38mm Guaranteed; 40mm Typical Wire Resolution: 38AWG Guaranteed; 40AWG Typical Dual-energy detector: Yes Number of Colors in X-ray Image: 3 Dimensions(LxWxH)：1990 × 970 × 1320 | 1 | pcs | 21700 | 21700 | 0% | 21700 | 21700 | 10% | 10% | 33% | 40% | 46481.4 | 46481.4 | 2405412.45 | 2405412.45
5 | gate series
| ProBG3030 | 85308000 | fast and can widely adjust from 0.9s-10s,Able to work under -40°C—+75°C outdoor, Support wide range of 100-240V DC and 24V battery. | 1 | PCS | 855 | 855 | 0% | 855 | 855 | 10% | 10% | 40% | 40% | 1915.2 | 1915.2 | 99111.6 | 99111.6
7 | UHF reader and tag
| UHF1-10F: A34020217(Blank Logo) | 85437000 | American standard frequency band(902MHz-926MHz) Application: Long distancen fixed vehicle access management (Reading distance for 0-6m) | 2 | PCS | 208 | 416 | 0% | 208 | 416 | 10% | 10% | 58% | 40% | 518.336 | 1036.672 | 26823.888 | 53647.776
| UHF1-Tag4 | 85437000 | • Model UHF1-Tag4 • Working Frequency 860MHz~960MHz • Reading Distance Up to 10 meters for UHF1-10E and UHF1-10F (Determined by the environment and reader) • Protocol Standard ISO/IEC 18000-6C, EPC global Class 1 Gen 2 • Chip Alien H3 | 500 | PCS | 0.5 | 250 | 0% | 0.5 | 250 | 10% | 10% | 58% | 40% | 1.246 | 623 | 64.4805 | 32240.25
15 | Digital & FM portable Radios
| NX-300S |  | 5 W (400-470 MHz) Models,Number of Channels 64 Zones 4 Max. Channels per Zone 16 | 40 | PCS | 135 | 5400 | 0% | 135 | 5400 | 10% | 10% | 53% | 40% | 326.97 | 13078.8 | 16920.6975 | 676827.9
11 | accessories for portable Radio Communication
| KBH-11 |  | Belt clip | 40 | PCS | 5 | 200 | 0% | 5 | 200 | 10% | 10% | 53% | 40% | 12.11 | 484.4 | 626.6925 | 25067.7
| KNB-48L Li-Ion Battery (2550mAh) |  | 20° C to +60° C (discharge) / 0° C to +45° C (charge), CONDITIONER COMPATIBLE Yes VOLTAGE 7.4V | 40 | PCS | 25 | 1000 | 0% | 25 | 1000 | 10% | 10% | 53% | 40% | 60.55 | 2422 | 3133.4625 | 125338.5
| KEP-1 Heavy Duty Earphone |  | Heavy Duty Earphone | 1 | PCS | 19 | 19 | 0% | 19 | 19 | 10% | 10% | 53% | 40% | 46.018 | 46.018 | 2381.4315 | 2381.4315
| KSC-326 |  | Multiple Charger | 7 | PCS | 20 | 140 | 0% | 20 | 140 | 10% | 10% | 53% | 40% | 48.44 | 339.08 | 2506.77 | 17547.39
15 | Digital & FM Mobile Radios
| NX-820HG with micraphone |  | 6.25 & 12.5 kHz Channels, 50W (136-174 MHz) Mode, Frequency Range 400-470 MHz, Operating Voltage 13.6 V DC ± 15% Operating Temperature Range -22˚ F to +140˚ F (-30˚ C to +60˚ C) | 1 | PCS | 135 | 135 | 0% | 135 | 135 | 10% | 10% | 63% | 40% | 345.87 | 345.87 | 17898.7725 | 17898.7725
15 | base unit repeater
| NXR-810 |  | • 400 - 470, • Repeater Operation • Duplex / Simplex Base Operation • 30 CH Scanning Base • Two-Digit LED Display • 6 Lighted Programmable Function keys | 1 | PCS | 135 | 135 | 0% | 135 | 135 | 10% | 10% | 63% | 40% | 345.87 | 345.87 | 17898.7725 | 17898.7725
| Total | [16 empty] | 13432859.5905

## ILMS
DU-Integrated Digital Library System (ILSM) - BE
No. | Item Part Number | HS Code | Item Description | Qty. | UoM | GPL Unit Cost (USD) | GPL Total Cost (USD) | Discount (%) | Discounted Unit Cost (USD) | Discounted Total Cost (USD) | Frieght & Insurance | Bank Charges | Import Tax | Margin (%) | Unit Price (USD) | Total Price (USD) | Unit Price Including VAT | Total Price (ETB)
1 | ILMS software
| ILMS system software |  | • Completely Web-based, • run on browser. ̇Web-based Application –Asp.net, JavaScript, AJAX, XML, Web-Printing Supported ̇ • Multi-lingual Support –Full Unicode (UTF-8) Support ̇ • Standard Compliant –Marc21, UNI-Marc, ISO2709, Z39.50, MARCXML ̇ | 1 | Pcs | 6000 | 6000 | 0% | 6000 | 6000 | 0% | 10% | 0% | 40% | 9240 | 9240 | 478170 | 478170
2 | ILMS Gate detection
| RFID Detection Gates | 85437000 | 1.capable of Detecting EAS Armed RFID tags 2.should Support AFI anti-theft figure 3.support Multi-item detection 4.support People Counter (In and Out) 5.shoud be Able to integrate camera with the gate if required 6.should be Able to integrate with Surveillance Station is required including base plat | 1 | Pcs | 6000 | 6000 | 0% | 6000 | 6000 | 10% | 10% | 63% | 40% | 15372 | 15372 | 795501 | 795501
| Base plate for each aisle | 85437000 | Base plat for the gate | 1 | Pcs | 450 | 450 | 0% | 450 | 450 | 10% | 10% | 63% | 40% | 1152.9 | 1152.9 | 59662.575 | 59662.575
3 | ILMS Book Tag
| RFID Tags for Books | 85437000 | • Integrated Circuit (IC) NXP I-CODE SLIX2 • IC’s protocol /anti-collision ISO 15693 : SLIX2 IC specification • Memory 2,560 bits (320 bytes) • Operating frequency 13.56 MHz (HF) • Unloaded resonance frequency 14,40 MHz ± 0,35 MHz • Transponder antenna material Aluminum | 60 | roll | 300 | 18000 | 0% | 300 | 18000 | 10% | 10% | 63% | 40% | 768.6 | 46116 | 39775.05 | 2386503
4 | ILMS Staff Station
| Staff Station Unit | 85437000 | arming/disarming module, tagging module and sorting module. 1.Editing and updating of Students record 2.Add and deleting of Students record 3.Generate loan history for a particular Students 4.Managing of fines incurred by the Student 5.Arm/Disarm of EAS bit inside the library material 6.Program of new library material 7.desktop computer for managment | 2 | Pcs | 1600 | 3200 | 0% | 1600 | 3200 | 10% | 10% | 63% | 40% | 4099.2 | 8198.4 | 212133.6 | 424267.2
4 | ILMS shalf management
| Shelf Management System (wifi handle reader + tablet) | 85437000 | 1. Industrial Tablet (8” Touch Screen) 2. WIFI Handheld Reader and Antenna 3. Carry Bag 4. Software Function: Inventory Check, Searching | 3 | Pcs | 5000 | 15000 | 0% | 5000 | 15000 | 10% | 10% | 63% | 40% | 12810 | 38430 | 662917.5 | 1988752.5
5 | ILMS Softare requirmrnts | [15 empty] | 0
| SQL Server 2017 standard edition |  | Microsoft SQL Server 2017 Standard + 5 user CAL License | 1 | Usr | 931 | 931 | 0% | 931 | 931 | 0% | 10% | 0% | 40% | 1433.74 | 1433.74 | 74196.045 | 74196.045
| Windows Server 2019 Standard Edition operating system |  | System type software which is installed on the specified server machine for central database system | 1 | Pcs | 882 | 882 | 0% | 882 | 882 | 0% | 10% | 0% | 40% | 1358.28 | 1358.28 | 70290.99 | 70290.99
| desctop computer |  | Intel Core i7 3.8GHz, 16GB DDR3, 1TB HDD, Windows 10 Pro 64-Bit, WiFi, USB 3.0, DVDRW, 2X Display Port | 1 | Pcs | 50000 | 50000 | 0% | 50000 | 50000 | 0% | 10% | 0% | 40% | 77000 | 77000 | 88550 | 88550
| Grand Total | [16 empty] | 6365893.31

## smart class
DU-Smart Class Room Solution BE
NO | Item Part Number | HS Code | Item Description | Qty. | UOM | GPL Unit Cost (USD) | GPL Total Cost (USD) | Discount (%) | Discounted Unit Cost (USD) | Discounted Total Cost (USD) | Frieght & Insurance | Bank Charges | Import Tax | Margin (%) | Unit Price (USD) | Total Price (USD) | Unit Price including VAT | Total Price (ETB)
1 | Smart Class Room solution
| EB-710Ui | 90072000 | Teach without disruption and ensure your students can read everything on the screen with this interactive ultra-short-throw laser display solution, delivering collaborative lessons on a large scalable display to promote greater sharing and participation in the classroom. | 5 | PC | 3342 | 16710 | 0% | 3342 | 16710 | 10% | 10% | 63% | 40% | 8562.204 | 42811.02 | 443094.057 | 2215470.285
| V12H731P01 |  | This high-speed, wireless network adapter plugs directly into selected Epson projectors allowing quick and easy wireless access to LAN or peer-to-peer networks. | 5 | PC | 68 | 340 | 0% | 68 | 340 | 10% | 10% | 63% | 40% | 174.216 | 871.08 | 9015.678 | 45078.39
| V12H467040DA |  | active speakers (with built-in amplifiers) enable all students in the room to clearly hear your lesson, enhancing the learning experience | 5 | PC | 158 | 790 | 0% | 158 | 790 | 10% | 10% | 63% | 40% | 404.796 | 2023.98 | 20948.193 | 104740.965
| V12H759040 |  | Quick to set-up visualiser for magnifying source material clearly and easily for the benefit of everyone in the classroom | 5 | PC | 266 | 1330 | 0% | 266 | 1330 | 10% | 10% | 63% | 40% | 681.492 | 3407.46 | 35267.211 | 176336.055
| V12H927040DA |  | safty wire for the projector and accessories | 5 | PC | 24.02 | 120.1 | 0% | 24.02 | 120.1 | 10% | 10% | 63% | 40% | 61.5392 | 307.6962 | 3184.6557 | 15923.2784
| V12H927040DA |  | wall-mounted AV control box perfectly complements Epson's short-throw and ultra-short-throw display solutions. Teachers, and pupils, benefit from greater device connectivity, ease of use and neat cable management | 5 | PC | 229 | 1145 | 0% | 229 | 1145 | 10% | 10% | 63% | 40% | 586.698 | 2933.49 | 30361.6215 | 151808.1075
2 | Whiteboard | [15 empty] | 0
| Whiteboard |  | whiteboard surface is optimized for projection, with minimal glare or reflection | 5 | PC | 499.99 | 2499.95 | 0% | 499.99 | 2499.95 | 10% | 10% | 40% | 40% | 1119.9776 | 5599.888 | 57958.8408 | 289794.204
3 | Camera | [15 empty] | 0
| Logitech MeetUp |  | Logitech® MeetUp is a premier ConferenceCam designed for small conference rooms and huddle rooms. With a room capturing, super-wide 120° field of view, | 5 | PC | 900 | 4500 | 0% | 900 | 4500 | 10% | 10% | 40% | 40% | 2016 | 10080 | 104328 | 521640
4 | Desktop computer (Qty=5) | [15 empty] | 0
| desktop computer |  | core i3 dell computer with 8GB and 500Gb HDD processing speed 3.6 ghz | 5 | PC | 28000 | 140000 | 0% | 28000 | 140000 | 0% | 0% | 0% | 40% | 39200 | 196000 | 45080 | 225400
5 | Multipurpose presentation cart (Qty=5)
| Multipurpose presentation cart |  | • Recessed 2" deep surface area for laptop • Slide-out, locking shelf for multimedia equipment • 3 locking doors provide secure storage area • Wire management grommets on shelves • Input/output lines for media players, extension speakers • Made of high-quality melamine thermo-fused MDF • Durable scratch resistant surface | 5 | PC | 28000 | 140000 | 0% | 28000 | 140000 | 0% | 0% | 0% | 40% | 39200 | 196000 | 45080 | 225400
6 | Class room Door with access control
| Class Room door woth access control |  | • Integrated access control • Support pin, Card and Finger print for accessing • Made of durable materials • 200cm height • 100cm width • Supply and installation | 5 | PC | 100000 | 500000 | 0% | 100000 | 500000 | 0% | 0% | 0% | 40% | 140000 | 700000 | 161000 | 805000
7 | Smart classroom renovation and design
| Class Room Decoration |  | Room renovation - Access control with attendance and integrated Camera System - floor with pourcline - standard classroom Lithinig - windows protection and glass - painting -Gypsum for the projector aria | 1 | PC | 340000 | 340000 | 0% | 340000 | 340000 | 0% | 0% | 0% | 40% | 476000 | 476000 | 547400 | 547400
| Total | [5 empty] | 307435.05 |  |  | 307435.05 | [5 empty] | 460034.6142 |  | 5323991.2848

## One Card -BE
DU-One Card System - BE
No. | Item Part Number | HS Code | Item Description | Qty. | UoM | GPL Unit Cost (USD) | GPL Total Cost (USD) | Discount (%) | Discounted Unit Cost (USD) | Discounted Total Cost (USD) | Frieght & Insurance | Bank Charges | Import Tax | Margin (%) | Unit Price (USD) | Total Price (USD) | Unit Price Including VAT | Total Price (ETB)
1 | Dual Side ID Printer
| YMCKO Color Ribbon Kit | 90099910 | ribbon consists of yellow (Y), magenta (M) and cyan (C) panels for printing a full spectrum of colors by combining the colors using varying degrees of heat and the O panel is a thin, clear protective layer. | 150 | Pcs | 56.7 | 8505 | 0% | 56.7 | 8505 | 10% | 10% | 38% | 40% | 125.4204 | 18813.06 | 6490.5057 | 973575.855
2 | Central Data Storage Server
| Dell 740 |  | Chassis Configuration • Chassis with up to 8 x 2.5" SAS/SATA Hard Drives for 2CPU Configuration Trusted Platform Module (TPM) • No Trusted Platform Module Processor and thermal configuration • Intel® Xeon® Bronze 3106 1.7G, 8C/8T, 9.6GT/s, 11M Cache, No Turbo, No HT (85W) DDR4-2133 • Intel® Xeon® Bronze 3106 1.7G, 8C/8T, 9.6GT/s, 11M Cache, No Turbo, No HT (85W) DDR4-2133 • 2 Standard Heatsinks for 125W or less CPUs Memory capacity and DIMM type • Performance Optimized • 2666MT/s RDIMMs • 16GB RDIMM, 2666MT/s, Dual Rank Operating System and OS media Kits • No Operating System • No Media Required RAID Configuration and Controller • C7, Unconfigured RAID for HDDs or SSDs (Mixed Drive Types Allowed) • PERC H330+ RAID Controller, Adapter, Low Profile Hard Drives • 12TB 7.2K RPM SATA 6Gbps 512n 2.5in Hot-plug Hard Drive Advanced System Configurations’ • UEFI BIOS Setting Power Supply and power Cords • Dual, Hot-plug, Redundant Power Supply (1+1), 750W • Rack Power Cord 2M (C13/C14 10A) PCIe Riser • Riser Config 2, 3 x8, 1 x16 slots Rack unit • 2U Standard Quick Sync • No Quick Sync Internal Optical Drive • No Internal Optical Drive Base Warranty • 1Yr Parts Only Warranty (Emerging Only) Support Services • 3Yr Basic Warranty - NBD Included - No Upgrade Selected Fans • 6 Standard Fans Network Daughter Card • QLogic 57800 2x10Gb SR/SFP+ + 2x1Gb BT Network Daughter Card, with SR Optics | 3 | Pcs | 3109 | 9327 | 0% | 3109 | 9327 | 10% | 10% | 40% | 40% | 6964.16 | 20892.48 | 360395.28 | 1081185.84
2 | 43” Display Screen
| 43" television |  | Full HD (FHD) Disply Screen TV | 6 | Pcs | 30000 | 180000 | 0% | 30000 | 180000 | 0% | 0% | 0% | 40% | 42000 | 252000 | 48300 | 289800
3 | Photo capturing Device
| Logitech Brio with tripod |  | • 4K Ultra HD video calling (up to 4096 x 2160 pixels @ 30 fps) • 1080p Full HD video calling (up to 1920 x 1080 pixels @ 30 or 60 fps) • 720p HD video calling (up to 1280 x 720 pixels @ 30, 60, or 90 fps) • Plug-and-play USB connectivity • Field of View: • Diagonal: 90° • Horizontal: 82.1° • Vertical: 52.2° • 5x digital zoom in Full HD • Material: Aluminium +Plastic • Head type: Three-way • Leg Lock type: Flip-lock • Panning range:180° • Max load capacity: 2kg • Max height: 42in • Min height: 13.77in • Folded height: 13.87in • Leg colomn quantity: 4 sections • Item weight: 16oz | 6 | Pcs | 280 | 1680 | 0% | 280 | 1680 | 10% | 10% | 140% | 40% | 1019.2 | 6115.2 | 52743.6 | 316461.6
4 | 10 KVA UPS
| SVT10KX |  | 3-Phase 380/400/415V 10kVA 9kW On-Line Double-Conversion UPS with IGBT technology provides battery backup and AC power protection against power disturbances that can damage electronics or destroy data. It’s recommended for critical IT or corporate infrastructure, telecom, LAN/WAN, security and emergency, financial and light industrial applications | 3 | Pcs | 4250 | 12750 | 0% | 4250 | 12750 | 15% | 10% | 40% | 40% | 9817.5 | 29452.5 | 508055.625 | 1524166.875
10 | Software Requirments
| SQL Server 2017 standard edition |  | Microsoft SQL Server 2017 Standard + 5 user CAL License | 5 | Usr | 931 | 4655 | 0% | 931 | 4655 | 0% | 10% | 0% | 40% | 1433.74 | 7168.7 | 74196.045 | 370980.225
| Windows Server 2016 Standard Edition operating system |  | System type software which is installed on the specified server machine for central database system | 1 | Pcs | 882 | 882 | 0% | 882 | 882 | 0% | 10% | 0% | 40% | 1358.28 | 1358.28 | 70290.99 | 70290.99
| Total | [5 empty] | 0 |  |  | 0 | [5 empty] | 0 |  | 4626461.385

## Time Attendance
DU-Time Attendance - BE
No. | Item Part Number | Item Description | Qty. | UoM | GPL Unit Cost (USD) | GPL Total Cost (USD) | Discount (%) | Discounted Unit Cost (USD) | Discounted Total Cost (USD) | Frieght & Insurance | Bank Charges | Import Tax | Margin (%) | Unit Price (USD) | Total Price (USD) | Unit Price inclduing VAT | Total Price (ETB)
1 | Biometric Attendance Devices
| Finger Print scanner | Time Attendance & Access Control Standalone Device Firmware : T&A Push SDK 3.5-inch TFT color screen SilkID fingerprint reader with living object detecting function Suggested Software:ZKBioSecurity/BioTime/ZKTime.Web Cap: Fingerprint: 20,000 / 40,000(Optional) Cards: 20,000 Transactions: 200,000 Full Access Control Features: Access control interface for 3rd party electric lock, door sensor, exit button, alarm and doorbell Multiple Verification Modes: Fingerprint & Card & Password Communication: TCP/IP, Wiegand Input / Output, SRB Supported Card Module: EM/ Mifare / HID Standard Function: Work Code / WDMS, Attendance Auto Switch, DST / Bell Schedule, External Printer (Optional) | 7 | Pcs | 298 | 2086 | 0% | 298 | 2086 | 10% | 10% | 40% | 40% | 667.52 | 4672.64 | 34544.16 | 241809.12
| Time Attendance Module(web-based) | Max Supported personnel:3000 Max Supported departments:300 Max Areas:300 Supported Max Attendance Points: 25 | 1 | Pcs | 997 | 997 | 0% | 997 | 997 | 10% | 10% | 40% | 40% | 2233.28 | 2233.28 | 115572.24 | 115572.24
| Desktop Computer | Known brand desktop Core I-5 computer Minimum of 8 GB RAM, 2.5 GHz Processing speed and 500 GB hard disk. | 1 | Pcs | 30000 | 30000 | 0% | 30000 | 30000 | 0% | 0% | 0% | 40% | 42000 | 42000 | 48300 | 48300
| Total | [15 empty] | 405681.36

## Network-BE
DU-Network Active Devices - BE
No. | Item Part Number | Item Description | Qty. | UoM | GPL Unit Cost (USD) | GPL Total Cost (USD) | Discount (%) | Discounted Unit Cost (USD) | Discounted Total Cost (USD) | Frieght & Insurance | Bank Charges | Import Tax | Margin (%) | Unit Price (USD) | Total Price (USD) | Unit Price including VAT | Total Price (ETB)
1 | 48 port Core Swiht switch (qty =2pcs)
| C9500-40X-A | Catalyst 9500 40-port 10Gig switch, Network Advantage | 2 | PC | 6760 | 13520 | 0% | 6760 | 13520 | 10% | 10% | 40% | 30% | 14060.8 | 28121.6 | 727646.4 | 1455292.8
| C9500-DNA-A-3Y | Cisco Catalyst 9500 DNA Advantage 3 Year License | 2 | PC | 2866 | 5732 | 0% | 2866 | 5732 | 10% | 10% | 40% | 30% | 5961.28 | 11922.56 | 308496.24 | 616992.48
2 | 24 Port Access Layer Switch (Qty =10)
| C9200L-24P-4X-E | Catalyst 9200L 24-port PoE+ 4x10G uplink Switch, Network Essentials | 10 | PC | 1476 | 14760 | 0% | 1476 | 14760 | 10% | 10% | 40% | 30% | 3070.08 | 30700.8 | 158876.64 | 1588766.4
| C9200-DNA-E-24-3Y | C9200 Cisco DNA Essentials, 24-port, 3 Year Term license | 10 | PC | 182 | 1820 | 0% | 182 | 1820 | 10% | 10% | 40% | 30% | 378.56 | 3785.6 | 19590.48 | 195904.8
3 | 48 Port Non POE Access Switch (qty=5 pcs)
| C9200L-48T-4X-E | Catalyst 9200L 48-port Data 4x10G uplink Switch, Network Essentials | 5 | PC | 1665 | 8325 | 0% | 1665 | 8325 | 10% | 10% | 40% | 30% | 3463.2 | 17316 | 179220.6 | 896103
| C9200-DNA-E-48-3Y | C9200 Cisco DNA Essentials, 48-port, 3 Year Term license | 5 | PC | 334 | 1670 | 0% | 334 | 1670 | 10% | 10% | 40% | 30% | 694.72 | 3473.6 | 35951.76 | 179758.8
5 | 10G SFP
| CMD-10G-LR | COMMANDO 10GBASE-LR, SFP+, 1310nm, 10km, SMF, DOM, Compatible w/ Cisco SFP-10G-LR | 100 | PC | 45 | 4500 | 0% | 45 | 4500 | 10% | 10% | 40% | 30% | 93.6 | 9360 | 4843.8 | 484380
6 | 1.5 KVA UPS (Qty =30)
| SMX1500XLRT2U | Product type UPS Output Volt Amp Capacity (VA) 1500 Output kVA Capacity (kVA) 1.5 Nominal Output Voltage(s) Supported 220V; 230V; 240V Output Voltage Regulation (Line Mode) -18%, +8% Output Voltage Regulation (Batry Mode) +/- 5% | 60 | PC | 1116.53 | 66991.8 | 0% | 1116.53 | 66991.8 | 10% | 10% | 40% | 30% | 2322.3824 | 139342.944 | 120183.2892 | 7210997.352
| Total |  |  |  |  | 13520 |  |  | 13520 | [5 empty] | 28121.6 |  | 12628195.632

## SCS-BE
DU-Stractural Network cabling System (SCS) - BE
No. | Item Part Number | Item Description | Qty. | UoM | GPL Unit Cost (USD) | GPL Total Cost (USD) | Discount (%) | Discounted Unit Cost (USD) | Discounted Total Cost (USD) | Frieght & Insurance | Bank Charges | Import Tax | Margin (%) | Unit Price (USD) | Total Price (USD) | Unit Price (ETB) | Total Price (ETB)
1 | FTP Cable
| FTP Cable | · (FTP) outdoor-rated CAT6 cable 305 meter Per Role | 15 | role | 175 | 2625 | 0% | 175 | 2625 | 10% | 10% | 40% | 40% | 392 | 5880 | 5409.6 | 81144
2 | UTP Cable
| UTP Cable | • (UTP) Full Copper CAT6 UTP cable 305M Per Roll | 30 | role | 4000 | 120000 | 0% | 4000 | 120000 | 10% | 10% | 40% | 40% | 8960 | 268800 | 10304 | 309120
3 | Fiber cable
| Single Mode Fiber cable indoor | • 6 core • Known Brand • Indoor type | 2000 | meter | 68 | 136000 | 0% | 68 | 136000 | 0% | 0% | 0% | 40% | 95.2 | 190400 | 109.48 | 218960
| Single Mode Fiber cable Outdoor | •12 core • Known Brand • outdoor type | 2000 | meter | 100 | 200000 | 0% | 100 | 200000 | 0% | 0% | 0% | 40% | 140 | 280000 | 161 | 322000
4 | Fiber Patch cord
| 3m Fiber Path Cord | 3 Meter LC-LC Single mode duplex Fiber Optic Patch Cord 9/125µm | 86 | PC | 370 | 31820 | 0% | 370 | 31820 | 0% | 0% | 0% | 40% | 518 | 44548 | 595.7 | 51230.2
| 1m Fiber Path Cord | 1 Meter LC-LC Single mode duplex Fiber Optic Patch Cord 9/125µm Cord | 86 | PC | 320 | 27520 | 0% | 320 | 27520 | 0% | 0% | 0% | 40% | 448 | 38528 | 515.2 | 44307.2
| 15m Fiber Path Cord | 15 Meter LC-LC Single mode duplex Fiber Optic Patch Cord 9/125µm Cord | 6 | PC | 1000 | 6000 | 0% | 1000 | 6000 | 0% | 0% | 0% | 40% | 1400 | 8400 | 1610 | 9660
5 | Sleeve
| Fiber splicing sleeve | · Fiber Optics Fusion Splicing Sleeve 12 per pack | 22 | pack | 120 | 2640 | 0% | 120 | 2640 | 0% | 0% | 0% | 40% | 168 | 3696 | 193.2 | 4250.4
6 | Fiber Patch Panel
| 12 port Single Mode Fiber Patch Panel | • Feature:  12-port LC duplex panel loaded with 12xLCduplex single mode • Brand: known brand | 10 | PC | 3350 | 33500 | 0% | 3350 | 33500 | 0% | 0% | 0% | 40% | 4690 | 46900 | 5393.5 | 53935
| 24 portSingle Mode Fiber Patch Panel | • 24-port LC duplex panel loaded with 24xLCduplex single mode wall mounted • Brand: known brand | 6 | PC | 4400 | 26400 | 0% | 4400 | 26400 | 0% | 0% | 0% | 40% | 6160 | 36960 | 7084 | 42504
7 | Pigtail
| Single Mode Pigtail (LC) | • LC/UPC single mode fiber pigtail tight buffer-9/125 OSI/OS2 white 900um 1 meter | 120 | PC | 120 | 14400 | 0% | 120 | 14400 | 0% | 0% | 0% | 40% | 168 | 20160 | 193.2 | 23184
8 | Warning Tape
| Warning Tape | · Fiber Optics Warning Tape | 2000 | PC | 15 | 30000 | 0% | 15 | 30000 | 0% | 0% | 0% | 40% | 21 | 42000 | 24.15 | 48300
9 | Patch Panel for UTP
| Patch Panel for UTP | • Brand: known brand • Number of RJ-45 port:  24 Port, with cable management and port labeling features • Standard/category  Compatible for Category 6 | 20 | PC | 1600 | 32000 | 0% | 1600 | 32000 | 0% | 0% | 0% | 40% | 2240 | 44800 | 2576 | 51520
10 | Wall Outlet
| Wall Outlet (Single mode) | • wall out late UTP RJ45 flush sockets • package quantity: one • Single node mode • left connecter type: RJ 45 • gender: female • Cat6 RJ45 UTP White outlets | 300 | PC | 150 | 45000 | 0% | 150 | 45000 | 0% | 0% | 0% | 40% | 210 | 63000 | 241.5 | 72450
11 | Rack
| Switch Rack | · 12Unit Rack With Mounting Accessory | 31 | PC | 8000 | 248000 | 0% | 8000 | 248000 | 0% | 0% | 0% | 40% | 11200 | 347200 | 11200 | 347200
12 | UTP Patch Cord
| 1m UTP Patch Cord | • Cable Type  Category 6 Cable Factory Made (with cable Jacket and RJ-45 Connector) • Cable Length  1m • Brand  Known brand | 1242 | PC | 80 | 99360 | 0% | 80 | 99360 | 0% | 0% | 0% | 40% | 112 | 139104 | 128.8 | 159969.6
| 3m UTP Patch Cord | • Cable Type Category 6 Cable Factory Made (with cable Jacket and RJ-45 Connector) Cable Length 3m Brand Known brand | 200 | PC | 100 | 20000 | 0% | 100 | 20000 | 0% | 0% | 0% | 40% | 140 | 28000 | 161 | 32200
13 | Cable trunk with connector
| Cable trunk | • PVC cable Trucking (25mmx40mm) | 1000 | meter | 80 | 80000 | 0% | 80 | 80000 | 0% | 0% | 0% | 40% | 112 | 112000 | 128.8 | 128800
| Cable trunk | • PVC cable Trucking (40mmx100mm) | 500 | meter | 125 | 62500 | 0% | 125 | 62500 | 0% | 0% | 0% | 40% | 175 | 87500 | 201.25 | 100625
14 | UPVC
| HDP | • HDP diameter 75 mm | 300 | meter | 80 | 24000 | 0% | 80 | 24000 | 0% | 0% | 0% | 40% | 112 | 33600 | 128.8 | 38640
| UPVC | •UPVC diameter 75 4PN | 200 | meter | 80 | 16000 | 0% | 80 | 16000 | 0% | 0% | 0% | 40% | 112 | 22400 | 128.8 | 25760
15 | Fisher
| Fisher | • Fisher 8 mm 100pc Per Pack | 100 | pack | 50 | 5000 | 0% | 50 | 5000 | 0% | 0% | 0% | 40% | 70 | 7000 | 80.5 | 8050
16 | Washer
| Washer | • Small size 100pc Per Pack | 100 | pack | 120 | 12000 | 0% | 120 | 12000 | 0% | 0% | 0% | 40% | 168 | 16800 | 193.2 | 19320
17 | Screw
| Screw | Screw 8 mm, 100pc Per Pack | 100 | pack | 120 | 12000 | 0% | 120 | 12000 | 0% | 0% | 0% | 40% | 168 | 16800 | 193.2 | 19320
18 | Cable tie
| Cable Tie | · White Cable Tie 250mm Size | 20 | pack | 180 | 3600 | 0% | 180 | 3600 | 0% | 0% | 0% | 40% | 252 | 5040 | 289.8 | 5796
19 | Power outlet
| Power outlet | · Single phase power outlet | 32 | pc | 50 | 1600 | 0% | 50 | 1600 | 0% | 10% | 0% | 40% | 77 | 2464 | 88.55 | 2833.6
20 | Grounding
| Lightning Protection Rod. | · Copper Bonded Grounding Rod, Earthing Pit Cover, Earth Bar, Earthing Plate Clamp, Earthing Electrode Pipe | 40 | PC | 1400 | 56000 | 0% | 1400 | 56000 | 0% | 0% | 0% | 40% | 1960 | 78400 | 2254 | 90160
21 | power cable
| power cable | · Copper Bonded Grounding Rod, Earthing Pit Cover, Earth Bar, Earthing Plate Clamp, Earthing Electrode Pipe | 1000 | PC | 1400 | 1400000 | 0% | 1400 | 1400000 | 0% | 0% | 0% | 40% | 1960 | 1960000 | 2254 | 2254000
21 | box
| Outdoor fiber termination box | Outdoor fiber termination box | 30 | PC | 1400 | 42000 | 0% | 1400 | 42000 | 0% | 0% | 0% | 40% | 1960 | 58800 | 2254 | 67620
| Outdoor pol mounted Box | Outdoor pol mounted Box | 30 | PC | 1400 | 42000 | 0% | 1400 | 42000 | 0% | 0% | 0% | 40% | 1960 | 58800 | 2254 | 67620
| Total |  |  |  |  | 258625 |  |  | 258625 | [5 empty] | 465080 |  | 4700479

## Wireless-BE
DKU-Wireless Solution- BE
No. | Item Part Number | Item Description | Qty. | UoM | GPL Unit Cost (USD) | GPL Total Cost (USD) | Discount (%) | Discounted Unit Cost (USD) | Discounted Total Cost (USD) | Frieght & Insurance | Bank Charges | Import Tax | Margin (%) | Unit Price (USD) | Total Price (USD) | Unit Price including VAT | Total Price (ETB)
1 | wireless controller
| C9800-40-K9 | Cisco Catalyst 9800-40 Wireless Controller | 1 | pcs | 30000 | 30000 | 0% | 30000 | 30000 | 10% | 10% | 40% | 40% | 67200 | 67200 | 3477600 | 3477600
| LIC-C9800-DTLS-K9 | Cisco Catalyst 9800 Series Wireless Controller DTLS License | 1 | pcs |  | 0 | 0% | 0 | 0 | 10% | 10% | 40% | 40% | 0 | 0 | 0 | 0
| SC980040K9-1610 | Cisco Catalyst 9800-40 Wireless Controller | 1 | pcs |  | 0 | 0% | 0 | 0 | 10% | 10% | 40% | 40% | 0 | 0 | 0 | 0
1 | Indoor Wireless Access Point
| C9115AXI-E | Cisco Catalyst 9115AXI Access Point: Indoor environments, with internal antennas | 20 | pcs | 1245 | 24900 | 0% | 1245 | 24900 | 10% | 10% | 40% | 40% | 2788.8 | 55776 | 144320.4 | 2886408
| DNA-A-3Y-C9115 | C9115AX CISCO DNA Advantage 3 Year Term Licenses | 20 | pcs |  | 0 | 0% | 0 | 0 | 10% | 10% | 40% | 40% | 0 | 0 | 0 | 0
2 | Outdoor Access Point
| AIR-AP1572EAC-E-K9 | Cisco Aironet 1572EAC Outdoor Access Point Detail: 802.11ac Outdoor AP, External Antenna, AC-power, E Regulatory Domain | 20 | pcs | 4625 | 92500 | 0% | 4625 | 92500 | 10% | 10% | 40% | 40% | 10360 | 207200 | 536130 | 10722600
|  |  | 20 | pcs | 4625 | 92500 | 0% | 4625 | 92500 | 10% | 10% | 40% | 40% | 10360 | 207200 | 536130 | 10722600
3 | Civil Work
| Out Door AP | Out Door Access Point Mount Pole | 20 | pcs | 8000 | 160000 | 0% | 8000 | 160000 | 0% | 0% | 0% | 40% | 11200 | 224000 | 12880 | 257600
| Fooundation | Out Door Access Point pole mount foundation | 20 | PCS | 4000 | 80000 | 0% | 4000 | 80000 | 0% | 0% | 0% | 40% | 5600 | 112000 | 6440 | 128800
| Manhole | Manhole,Lin ,and Manhole Cover | 1 | pcs | 1500 | 1500 | 0% | 1500 | 1500 | 0% | 0% | 0% | 40% | 2100 | 2100 | 2415 | 2415
| Digging and Back Fill | Digging and and Back Fill From Building To Pole Through Manhole | 1 | PCS | 100 | 100 | 0% | 100 | 100 | 0% | 0% | 0% | 40% | 140 | 140 | 161 | 161
| Total |  |  |  |  | 147400 |  |  | 147400 | [5 empty] | 330176 |  | 28198184

## UTM
DkU-Wireless Solution- BE
No. | Item Part Number | Item Description | Qty. | UoM | GPL Unit Cost (USD) | GPL Total Cost (USD) | Discount (%) | Discounted Unit Cost (USD) | Discounted Total Cost (USD) | Frieght & Insurance | Bank Charges | Import Tax | Margin (%) | Unit Price (USD) | Total Price (USD) | Unit Price including VAT | Total Price (ETB)
1 | Firewall
| FG-601E | 2x 10 GE SFP+ slots, 10x GE RJ45 ports (including 1x MGMT port, 1x HA port, 8x switch ports), 8x GE SFP slots, SPU NP6 and CP9 hardware accelerated, 2x 240 GB onboard SSD storage | 2 | pcs | 11250 | 22500 | 0% | 11250 | 22500 | 10% | 10% | 40% | 40% | 25200 | 50400 | 1304100 | 2608200
| Total |  |  |  |  | 22500 |  |  | 22500 | [5 empty] | 50400 |  | 2608200

## VC-Solution
DKU-Collaborative smart meeting room Solution- BE
No. | Item Part Number | Item Description | Qty. | UoM | GPL Unit Cost (USD) | GPL Total Cost (USD) | Discount (%) | Discounted Unit Cost (USD) | Discounted Total Cost (USD) | Frieght & Insurance | Bank Charges | Import Tax | Margin (%) | Unit Price (USD) | Total Price (USD) | Unit Price including VAT | Total Price (ETB)
1 | Large Venue Projector for event (Qty=2)
| EB-G7900U | Superior picture quality: 3LCD technology; superior white balance; better color matching HD images with 4K enhancement: Exceptional sharpness, clarity and detail for the real 4K effect Flexible 360⁰ installation: True flexibility without distortion or loss of brightness Lens memory function: Stores projector settings such as image position, focus and zoom Portrait projection mode: Switch mode without having to change the lamp 7000 lumen, WUXGA projector | 1 | PC | 4329 | 4329 | 0% | 4329 | 4329 | 10% | 10% | 40% | 40% | 9696.96 | 9696.96 | 446060.16 | 446060.16
| V12H803010 | Ceiling Mount - ELPMB48 High EB-G7000/L1000 | 1 | PC | 282 | 282 | 0% | 282 | 282 | 10% | 10% | 40% | 40% | 631.68 | 631.68 | 29057.28 | 29057.28
2 | White board
| White board | White board | 1 | pcs | 50 | 50 | 0% | 50 | 50 | 10% | 10% | 40% | 40% | 112 | 112 | 5796 | 5796
3 | High Definition Video Conferencing Room System
| 7200-67264-114 | Group 500-720 Media Center 2RT55. Includes: Stand, audio system, Group 500-720 codec, rmt, MicArray, EagleEye IV-12x camera, 2-55" 1 080p LED displays, cable bundle, Russia-Type C. Order casters separately. (Maintenance Contract Required) | 1 | PCS | 29366.11 | 29366.11 | 0% | 29366.11 | 29366.11 | 10% | 10% | 40% | 40% | 65780.0864 | 65780.0864 | 3404119.4712 | 3404119.4712
| 4870-67264-112 | Premier, One Year, Group 500-720 Media Center 2RT55. Includes: Stand, audio system, Group 500-720 codec, rmt, MicArray, EagleEye IV- 12x camera, 2-55" 1080p LED displays | 1 | PCS | 3681.45 | 3681.45 | 0% | 3681.45 | 3681.45 | 10% | 10% | 40% | 40% | 8246.448 | 8246.448 | 426753.684 | 426753.684
4 | Ceiling Microphone
| 2200-23809-002 | Ceiling Microphone array-White "Primary". Includes 2ft/60cm drop cable, electronics Interface, wall plate with 10ft/3m and 50ft/15m plenum cable, RJ45(F)/Walta(M). For RealPresence Group, HDX and SoundStructure. See Extension for additional arrays. | 3 | pcs | 1286.7 | 3860.1 | 0% | 1286.7 | 3860.1 | 10% | 10% | 40% | 40% | 2882.208 | 8646.624 | 149154.264 | 447462.792
5 | wall mount speakers
| SR-D8-M |  | 6 | pc | 7000 | 42000 | 0% | 7000 | 42000 | 10% | 10% | 40% | 40% | 15680 | 94080 | 705600 | 4233600
5 | Touch Control
| 8200-65810-001 | Polycom RealPresence Touch with silver trim for use with Group Series models. Requires PoE network connection or optional external p ower supply (2200-42740-XXX). One year Premier Maintenance Included in CALA. | 1 | PCS | 1502.31 | 1502.31 | 0% | 1502.31 | 1502.31 | 10% | 10% | 40% | 40% | 3365.1744 | 3365.1744 | 174147.7752 | 174147.7752
| 4870-00967-112 | Premier One Year, Touch Control | 1 | PCS | 208.32 | 208.32 | 0% | 208.32 | 208.32 | 10% | 10% | 40% | 40% | 466.6368 | 466.6368 | 24148.4544 | 24148.4544
6 | Presentation cart
| Multipurpose presentation cart | • Recessed 2" deep surface area for laptop • Slide-out, locking shelf for multimedia equipment • 3 locking doors provide secure storage area • Wire management grommets on shelves • Input/output lines for media players, extension speakers • Made of high-quality melamine thermo-fused MDF • Durable scratch resistant surface | 1 | pcs | 28000 | 28000 | 0% | 28000 | 28000 | 10% | 10% | 40% | 40% | 62720 | 62720 | 3245760 | 3245760
7 | Class room door with access control
| access control | Class room door with access control | 1 | pcs |  | 0 | 0% | 0 | 0 | 10% | 10% | 40% | 40% | 0 | 0 | 0 | 0
8 | White board
| Civil work & renovation | Work includes: Gypsum wall board for use on walls, ceilings or partitions and that affords a surface suitable to receive decoration, redecorated gypsum board for use as the finished surfacing for walls, ceilings or partitions gypsum backing board; and gypsum ceiling board for interior ceilings and walls. room will be furnished with one Standard stage table and 100 chairs setup, large blue curtain with opening strings attached at one end , Door with Automatic Handle, Carpet to improve the acoustics nature of the room. and lightings. | 1 | PCS | 600000 | 600000 | 0% | 600000 | 600000 | 10% | 10% | 40% | 40% | 1344000 | 1344000 | 1344000 | 1344000
| Total |  |  |  |  | 4611 |  |  | 4611 | [5 empty] | 10328.64 |  | 13780905.6168

## CCTV-Camer-BE
DU- Surveliance CCTV Camera - BE
No. | Item Part Number | HS code | Item Description | Qty. | UoM | GPL Unit Cost (USD) | GPL Total Cost (USD) | Discount (%) | Discounted Unit Cost (USD) | Discounted Total Cost (USD) | Frieght & Insurance | Bank Charges | Import Tax | Margin (%) | Unit Price (USD) | Total Price (USD) | Unit Price Including VAT | Total Price (ETB)
1 | Network Video Recorder
| DS-96256NI-I24 | 85219000 | 768Mbps Bit Rate Input Max(up to 256-ch IP video), 24 SATA Interfaces, alarm I/O: 16/8, RAID0,1,5,6,10 supported, 4U case,19" | 1 | pcs | 669 | 669 | 0% | 669 | 669 | 10% | 10% | 103% | 40% | 2088.618 | 2088.618 | 108085.9815 | 108085.9815
| ST8000VX0002-520 |  | 8TB/128MB(6GB/s NCQ)/5900RPM/SATA | 10 | pcs | 103 | 1030 | 0% | 103 | 1030 | 10% | 10% | 103% | 40% | 321.566 | 3215.66 | 16641.0405 | 166410.405
2 | Outdoor fixed bullet IP camera Camera
| DS-2CD2T46G1-4I | 85254000 | Max. 2688 × 1520 @ 25fps 2.8 mm/4 mm/6 mm fixed lens H.265, H.264 120dB WDR False alarm reduction by human and vehicle target classification based on deep learning Powered by Darkfighter 12 VDC & PoE (802.3at, class 4) IR range: Up to 50 m, optional Support on-board storage, up to 128 GB IP67 BLC/3D DNR/ROI Color: 0.007 Lux @ (F1.2, AGC ON), 0.012 Lux @ (F1.6, AGC ON) | 10 | pcs | 84 | 840 | 0% | 84 | 840 | 10% | 10% | 98% | 40% | 256.368 | 2563.68 | 13267.044 | 132670.44
| DS-1275ZJ-S-SUS |  | Vertical Pole Mount | 10 | pcs | 45 | 450 | 0% | 45 | 450 | 10% | 10% | 98% | 40% | 137.34 | 1373.4 | 7107.345 | 71073.45
| DS-1260ZJ |  | Junction box | 10 | pcs | 45 | 450 | 0% | 45 | 450 | 10% | 10% | 98% | 40% | 137.34 | 1373.4 | 7107.345 | 71073.45
3 | Outdoor PTZ Dome Camera
| DS-2DE7425IW-AE |  | 4MP, 1/2.5" CMOS,H.265+/H.265/H.264+/H.264 codec, 3D DNR, True WDR, Ultra-low light Powered By DarkFighter Color: 0.005lux/F1.6, B/W:0.001lux/F1.6, Optical Zoom:25x,, Digital Zoom:16X, 150m IR 2560*1440:30fps, Pan Speed: 0.1° -160°/s, Tilt Speed: 0.1° -120°/s, Hi-PoE&24VAC Smart Tracking Smart Detection | 10 | Pcs | 329 | 3290 | 0% | 329 | 3290 | 10% | 10% | 98% | 40% | 1004.108 | 10041.08 | 51962.589 | 519625.89
| DS-1604ZJ-pole |  | Wall mount with junction box | 10 | Pcs | 30 | 300 | 0% | 30 | 300 | 10% | 10% | 98% | 40% | 91.56 | 915.6 | 4738.23 | 47382.3
4 | Indoor Dome Camera
| DS-2CD2146G1-I |  | 4MP, 1/2.5" CMOS,H.265+/H.265/H.264+/H.264 codec, 3D DNR, True WDR, Ultra-low light Powered By DarkFighter Color: 0.005lux/F1.6, B/W:0.001lux/F1.6, Optical Zoom:25x,, Digital Zoom:16X, 150m IR 2560*1440:30fps, Pan Speed: 0.1° -160°/s, Tilt Speed: 0.1° -120°/s, Hi-PoE&24VAC Smart Tracking Smart Detection | 130 | Pcs | 73 | 9490 | 0% | 73 | 9490 | 10% | 10% | 98% | 40% | 222.796 | 28963.48 | 11529.693 | 1498860.09
| DS-1273ZJ-130B |  | Hikvision White Aluminum Alloy Ø 132 mm × 242.9 mm × 288.5mm (5.20" × 9.56" × 11.36") 1690 g (3.73 lb.) | 130 | Pcs | 19 | 2470 | 0% | 19 | 2470 | 10% | 10% | 98% | 40% | 57.988 | 7538.44 | 3000.879 | 390114.27
5 | Outdoor Network Speed Dome camera with accessories
| DS-2DF6225X-AEl |  | Image Sensor 1/1.9" progressive scan CMOS Min. Illumination Color: 0.002 Lux @(F1.5, AGC ON) B/W: 0.0002 Lux @(F1.5, AGC ON) Shutter Time 1/1 s to 1/30,000 s White Balance Auto/Manual/ATW (Auto-tracking White Balance)/Indoor/Outdoor/Fluorescent Lamp/Sodium Lamp AGC Auto/Manual Day & Night IR cut filter Digital Zoom 16× Privacy Mask 24 programmable privacy masks Focus Mode Auto/Semi-automatic/Manual | 5 | pcs | 629 | 3145 | 0% | 629 | 3145 | 10% | 10% | 98% | 40% | 1919.708 | 9598.54 | 99344.889 | 496724.445
| DS-1602ZJ-box |  | Vertical Pole Mounting Bracket with Junction Box | 5 | Pcs | 19 | 95 | 0% | 19 | 95 | 10% | 10% | 98% | 40% | 57.988 | 289.94 | 3000.879 | 15004.395
5 | Fisheye Camera
| DS-2CD63C5G0-IS |  | "1/1.7"" Progressive CMOS, ICR, 0lux with IR, 20fps (4000 × 3072),30fps(3000 × 3000) 1.29mm/F2.2 lens;Immervision lens; 360°Panoramic view, H.265+/H.265/H.264+/H.264/MJPEG, hemisphere Dewarping; DC12V & PoE, Support on-board storage, Up to 15m IR,3 LEDs.Each LED is independently controlled;Heater;Up to 1600x1200 ePTZ, Built-in dual microphone & speaker;Onboard and client side dewarping; DeepLearning:Heat map/Intersection analysis/people counting by deep learning; -S: Audio/Alarm IO/linein/lineout and RS485; -V: IP67 IK10 and Vandal-proof for outdoor;" | 18 | pcs | 400 | 7200 | 0% | 400 | 7200 | 10% | 10% | 98% | 40% | 1220.8 | 21974.4 | 63176.4 | 1137175.2
| DS-1273ZJ-DM25 |  | "Hik white Aluminum alloy 183.5×164×231.7mm 900g" | 18 | pcs | 14 | 252 | 0% | 14 | 252 | 10% | 10% | 98% | 40% | 42.728 | 769.104 | 2211.174 | 39801.132
6 | Panoramic and PTZ camera
| DS-2DP0818ZIX-D/236 |  | Four 1/1.8" progressive scan CMOS  Up to 4096×1800 resolution @30fps  Horizontal field of view: 180°, vertical field of view: 80°  Min. illumination: Color: 0.005 Lux@(F2.0, AGC ON), B/W: 0.0005 Lux@(F2.0, AGC ON) | 2 | pcs | 2749 | 5498 | 0% | 2749 | 5498 | 10% | 10% | 98% | 40% | 8389.948 | 16779.896 | 434179.809 | 868359.618
| DS-1603ZJ-Pole-P |  | Vertical Pole Mounting Bracket | 2 | pcs | 20 | 40 | 0% | 20 | 40 | 10% | 10% | 40% | 40% | 44.8 | 89.6 | 2318.4 | 4636.8
7 | Joystick and Camera Control Board
8 | keybord controller
| DS-1600KI |  | DS-1600KI Network Keyboard •10.1" Capacitive Touchscreen •Detachable Touchscreen and Joystick Design •Wired and WiFi Network Connection •PoE Power Supply •Up to 2-ch 1080p Decoding; 16-Division Window Display •DVI and HDMI Monitor Output•Connectable to Hikvision Products, such as DVRs, DVSs, NVRs, Network Cameras, and Speed Domes | 2 | pcs | 1071 | 2142 | 0% | 1071 | 2142 | 10% | 10% | 40% | 40% | 2399.04 | 4798.08 | 124150.32 | 248300.64
7 | HD Video controler
DS-6916UDI |  | 85287100 | Decoder, supports Output: 16*HDMI/8*BNC, Input: VGA/DVI/RJ45, odd HDMI support 3840*2160@30HZ, decoding 128-ch 1080P,36 division | 1 | Pcs | 1693 | 1693 | 0% | 1693 | 1693 | 10% | 10% | 53% | 40% | 4100.446 | 4100.446 | 212198.0805 | 212198.0805
DS-DN55B3M/B |  |  | Modular bracket, Pedestal part, available for DS-2055NL-B,DS-D2055NH-B, DS-D2055NH-B/G,DS-D2055NL-B/G,Hight: 800mm | 2 | Pcs | 353 | 706 | 0% | 353 | 706 | 10% | 10% | 53% | 40% | 854.966 | 1709.932 | 44244.4905 | 88488.981
DS-DN55B3M/F |  |  | Modular bracket, frame part, available for DS-D2055NH-B/G,DS-D2055NL-B/G | 2 | Pcs | 147 | 294 | 0% | 147 | 294 | 10% | 10% | 53% | 40% | 356.034 | 712.068 | 18424.7595 | 36849.519
DS-D2055NL-B/G |  |  | 55",1080P,500cd/㎡,bezelwidth:3.5mm,Input: VGA/DVI/BNC/HDMI/Ypbpr, Output: VGA/DVI/2*BNC | 9 | Pcs | 1689 | 15201 | 0% | 1689 | 15201 | 10% | 10% | 53% | 40% | 4090.758 | 36816.822 | 211696.7265 | 1905270.5385
HDMI cable |  |  | HIKVISION HDMI CABLE-15m | 9 | Pcs | 35 | 315 | 0% | 35 | 315 | 10% | 10% | 53% | 40% | 84.77 | 762.93 | 4386.8475 | 39481.6275
8 | IVMS
| HikCentral-VSS-Base/300Ch |  | 300 cameras manageable. Supported: Cloud Storage Server, Auxiliary Storage, Alarm Management (Alarm Cofiguration, Alarm Logs, Alarm Search), Email notification, Active Directory, Running on Virtual Machine, 100 Users Logged In Simultaneously, Client Operation (Auto-Switch, Private View, Adding Tag, Locking Video, Instant Playback, Custom Window Division) | 1 | pcs | 4459 | 4459 | 0% | 4459 | 4459 | 0% | 10% | 0% | 40% | 6866.86 | 6866.86 | 355360.005 | 355360.005
| HikCentral-SmartWall-Base |  | Device Supported: Decoders , Video Wall Controllers and Keyboards Support 32 smart walls manageable. Support 32 decoders Function Supported: displaying camera live view/playback on video wall, spanning window, roaming window alarm linkage etc. | 1 | pcs | 1199 | 1199 | 0% | 1199 | 1199 | 0% | 10% | 0% | 40% | 1846.46 | 1846.46 | 95554.305 | 95554.305
5 | All In One PC (Qty=4)
| ALL IN ONE PC |  | ALL IN ONE PC- Minimum HDD =1TB ,display:27" LCD, processor: core i7, Minimum RAM:16GB, | 4 | pcs | 1699 | 6796 | 0% | 1699 | 6796 | 10% | 10% | 40% | 40% | 3805.76 | 15223.04 | 196948.08 | 787792.32
9 | Wall Mounted Ac Qty=1)
| Wall Mounted |  | Known brand 24BTU Wall Mounted AC | 1 | pcs | 1292 | 1292 | 0% | 1292 | 1292 | 10% | 10% | 40% | 40% | 2894.08 | 2894.08 | 149768.64 | 149768.64
12 | 20KVA UPS For the control room
| SU20KRTHW |  | 20kVA / 20,000VA / 18,000W on-line double-conversion UPS; 0.9 power factor 200/208/220/230/240V 50/60Hz output Hot-swap power and battery modules, N+1 fault tolerance at loads up to 10kVA USB, RS232 & EPO ports; slot for network management card options | 1 | pcs | 10000 | 10000 | 0% | 10000 | 10000 | 10% | 15% | 40% | 40% | 23100 | 23100 | 1195425 | 1195425
12 | Media Converter
| HTB-GS-03-A/B |  | HTB-GS-03-A/B netLINK 1000M Single-mode Single Fiber Optic Ethernet Media Converte | 120 | pcs | 50 | 6000 | 0% | 50 | 6000 | 10% | 10% | 40% | 40% | 112 | 13440 | 5796 | 695520
| 1M SC/SC fiber patch cord |  | 1M SC/SC type fiber cable compatable for media converter | 120 | pcs | 200 | 24000 | 0% | 200 | 24000 | 10% | 10% | 40% | 40% | 448 | 53760 | 515.2 | 61824
12 | 8 port PoE/PoE+ Switch
| WS-C2960CX-8PC-L |  | Switch-10 ports managed Subtype: Gigabit  Twisted Pair= Ethernet Technology: FE Gigabit Ethernet Network Technology: 10/100Base-TX1000Base-X I/O Expansions: Number of Total Expansion Slots: 2 Expansion Slot Type: SFP Number of SFP Slots:2  Network & Communication: Layer Supported: 2 | 20 | pcs | 479 | 9580 | 0% | 479 | 9580 | 10% | 10% | 40% | 40% | 1072.96 | 21459.2 | 55525.68 | 1110513.6
16 | PoE Injector
| 101700361 |  | 60W PoE injector, 1*RJ45 interface,1000M (For DS-2DF8/76/5xxx-AE/AE3/AEL, DS-2DE2DE7xxx-AE models) | 40 | pcs | 55 | 2200 | 0% | 55 | 2200 | 10% | 10% | 40% | 40% | 123.2 | 4928 | 6375.6 | 255024
| 101700365 |  | 30W PoE injector, 1*RJ45 interface,1000M (For DS-2DE5/4xxx-AE/-AE3 models) | 100 | pcs | 35 | 3500 | 0% | 35 | 3500 | 10% | 10% | 40% | 40% | 78.4 | 7840 | 4057.2 | 405720
13 | CCTV Control Room
| Control Room |  |  Four Standard CCTV Camera Control Table  Four ergonomic Standard Chair  Room Renovation that include gypsum work, lighting. Room paint, carpet, Certain, Door Security | 1 | pcs | 500000 | 500000 | 0% | 500000 | 500000 | 0% | 0% | 0% | 40% | 700000 | 700000 | 805000 | 805000
11 | Civil Work
| Out Door Camera |  | Out Door Camera Mount Pole | 15 | pcs | 8000 | 120000 | 0% | 8000 | 120000 | 0% | 0% | 0% | 40% | 11200 | 168000 | 12880 | 193200
| Fooundation |  | Out Door Camera pole mount foundation | 15 | pcs | 4000 | 60000 | 0% | 4000 | 60000 | 0% | 0% | 0% | 40% | 5600 | 84000 | 6440 | 96600
| Total | [5 empty] | 2539 |  |  | 2539 | [5 empty] | 7867.958 |  | 14304889.123

## DCF-BE
DU-Datacenter Facility (DCF)- BE
No. | Item Part Number | Item Description | Qty. | UoM | GPL Unit Cost (USD) | GPL Total Cost (USD) | Discount (%) | Discounted Unit Cost (USD) | Discounted Total Cost (USD) | Frieght & Insurance | Bank Charges | Import Tax | Margin (%) | Unit Price (USD) | Total Price (USD) | Unit Price including VAT | Total Price (ETB)
1 | Type-Smart Mini Data Center Solution (qt y =1pcs)
| FusionModule800 | • Rack Height -42U,Width X Height X Depth/ mm -600×2000×1100 , UPS Capacity-10kVA,rPDU Installation-Vertical,rPDU Type -IEC/GB, Battery pack Quantity -4, Liquid sensor- Standard configuration, Tem&Hum sensor- Standard configuration,Door magnetic switch- Standard configuration, Smoke sensor- Standard configuration, Web monitoring- Standard configuration | 1 | pcs | 31000 | 31000 | 0% | 31000 | 31000 | 10% | 10% | 40% | 40% | 69440 | 69440 | 3593520 | 3593520
2 | Civil Work(qt y =1pcs)
| Civil Work |  All Datacenter Room Floor Covered By Porcelain  All Window Must Be Covered By HCB  Must have 10mm Glass partition For Datacenter Room and NOC Room  Door must Be changed to Fire Rated Door and Make Open with access Control (RF Card, PIN, Finger Print)  Room Wall Must be decorated with Cllading  Must have Standard Lightning  Must have Their own CCTV Camera Surveillance Inside and Out Side Datacenter Room monitor Activity | 1 | pcs | 1000000 | 1000000 | 0% | 1000000 | 1000000 | 0% | 0% | 0% | 40% | 1400000 | 1400000 | 1610000 | 1610000
| Total |  |  |  |  | 31000 |  |  | 31000 | [5 empty] | 69440 |  | 5203520

## DU_Training
INFONANS-DU -Training BoQ
No. | Training Category | Trainees | Tutition | Exam Voucher | Accommodation | Accomodation perday | No. of Days | Plane Ticket | Margin | Unit Price in (USD) | Total Price in (USD) | Unit Price including VAT (ETB) | Total Price (ETB)
1 | CCNA Routing and Switching Local Training | 5 | 12500 | 0 | 8000 | 400 | 20 | 0 | 30% | 26650 | 133250 | 30647.5 | 153237.5
2 | CCNA Routing and Switching Certefication | 5 | 0 | 200 | 800 | 400 | 2 | 0 | 30% | 1300 | 6500 | 52000 | 260000
3 | Programming with C# or JAVA or PHP | 3 | 11000 | 0 | 6000 | 400 | 15 | 0 | 30% | 22100 | 66300 | 22100 | 66300
4 | Database Development (oracl 11g or SQL2016) | 4 | 12000 | 0 | 6000 | 400 | 15 | 0 | 30% | 23400 | 93600 | 23400 | 93600
5 | PMP Abroad Traning and Completion Certefication | 5 | 3100 | 0 | 1400 | 200 | 7 | 1000 | 30% | 12350 | 61750 | 456950 | 2284750
6 | ITIL Abroad Traning and Completion Certefication | 4 | 3200 | 0 | 1400 | 200 | 7 | 1000 | 30% | 11180 | 44720 | 413660 | 1654640
| Total | [11 empty] | 4512527.5
| VAT (15%) | [11 empty] | 676879.125
| Grand Total (ETB) | [11 empty] | 5189406.625
Terms and Conditions
1. PMP & ITIL Training location: Dubai
2. Cisco traning location: Addis Ababa
3.Travel/Return air ticket and accomodation are included
4. the SQL trainings include Database Administration and Business Intelligent Development trinings
5.Hotel accomodation will be arranged besides perdime
6. Visa processing shall be supported by the Bank
7. Per dime of USD 200 per trainee is included

## proffesional Service
DU Professional Service - BE
No. | Service Category | Service Description | Qty. | Unit Price (ETB) | Total Price (ETB)
1 | Network Item | Design, Installation and Configuration | 1 | 1262819.5632 | 1262819.5632
2 | Wirelesscontrolert | Design, Installation and Configuration | 1 | 2819818.4 | 2819818.4
5 | DCF | Design, Installation and Configuration | 1 | 520352 | 520352
5 | Campus Check point security solution | Design, Installation and Configuration | 1 | 1343285.9591 | 1343285.9591
6 | ILMS | Design, Installation and Configuration | 1 | 636589.331 | 636589.331
7 | smart class room | Design, Installation and Configuration | 1 | 520352 | 520352
8 | One Card System | Design, Installation and Configuration | 1 | 462646.1385 | 462646.1385
2 | Time Attendance | Design, Installation and Configuration | 1 | 40568.136 | 40568.136
5 | CCTV Solution | Design, Installation and Configuration | 1 | 1430488.9123 | 1430488.9123
5 | SCS | Design, Installation and Configuration | 1 | 470047.9 | 470047.9
6 | Firewall | Design, Installation and Configuration | 1 | 260820 | 260820
7 | VC | Design, Installation and Configuration | 1 | 1378090.5617 | 1378090.5617
8 | Local and international Training and Certefication | Design, Installation and Configuration | 1 | 451252.75 | 451252.75
| Total |  |  |  | 11597131.6517